**Updated in May 2020**

**Dissecting Light Microscope**

**

***Make/Model:***

* Nikon Stereoscope SMZ-10

***Features:***

* Episcopic and diascopic illuminations.
* Photomicrography with Dino-Eye USB digital color camera.
* Zoom objective lens: 0.66X-4X with a 0.53X reducing lens. Eyepiece magnification 10X.

***Applications:***

* Observing or taking photographs of specimen at the size of mm level that is neither good using conventional camera nor feasible using compound microscope.