**Updated in April 2023**

**Cryostat microtomes**

 

***Make/Models:***

1. AMES 4553 (= Tissue-Tek II)
2. DAMON/IEC DIVISION 3398

***Features & Applications:***Section thickness: 2-20 µm; Temperature range: -30o to 30o. Prepare semi-thin or thick sections for histological study.